###### Annual Drinking Water Quality Report for 2025

Village of Mannsville

106 Lilac Park Drive

Mannsville, NY 13661

NYS PWS ID: NY2202340

Introduction

We are pleased to present this year’s Annual Water Quality Report.  The primary purpose of this report is to keep you informed about the quality of your water and the services we provide.  Our goal is to provide you with a safe and dependable supply of the highest quality drinking water possible.  Additionally, it is our intent that this report keeps you informed about water system issues and the actions either planned or in place to address them. water.  The purpose of this report is to raise your understanding of drinking water and awareness of the need to protect our drinking water sources. Last year, your tap water met all State drinking water health standards. We are proud to report that our system did not violate a maximum contaminant level or any other water quality standard.

I’d like to remind you that the Village Board authored Water Policy MAP-02 that outlines your rights and responsibilities as a water consumer as well as the Village Board’s responsibilities.  Requirements for installation, service and repairs are established to ensure our water system is maintained in accordance with accepted standards and that decisions from one board to the next are fair and consistent.  Copies of our Water Policy are available upon request by contacting the Village Clerk at 315-465-5515. We are committed to ensuring that the quality and quantity of your water will meet your needs for years to come and that our water system will either meet or exceed the standards set forth by the New York State Health Department.

If you have any questions about this report or concerning your water utility, please contact the Mannsville Village Clerk at (315) 465-5515.  We strive to keep you informed about the status of your water system and if you feel the need to learn more, please attend any of our regularly scheduled village board meetings.  The meetings are held the first Tuesday of each month at 7:00 pm at the Village Office located at 106 Lilac Park Drive in the Village of Mannsville. Our system serves a population of 450 through 156 metered service connections.  Water accounts must be paid in full by April 30 of each year to avoid having them added to the village taxes.

Where does our water come from?

Our water source is a groundwater source that has been classified as groundwater under the influence of surface water. This water is believed to be sourced from the Tug Hill Aquifer.  As a result of this classification, water from the three (3) existing drilled wells must be filtered and disinfected prior to distribution. The finished water is disinfected with a sodium hypochlorite solution and Ultraviolet light before the treated water enters the distribution system. Any water not consumed by our customers is then stored in our glass-lined storage tank located northeast of the Village of Mannsville.

The sources of drinking water (both tap and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals and from human activity.

Contaminants that may be present in source water include:

Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

Inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.

Organic chemical contaminants, including synthetic and volatile organic chemicals, which are byproducts of industrial processes and petroleum production, and can also, come from gas stations, urban storm water runoff, and septic systems.

Radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities.

Are there contaminants in our drinking water?

As the State regulations require, we routinely test your drinking water for numerous contaminants. These contaminants include: total coliform, turbidity, inorganic compounds, nitrate, nitrite, lead and copper, volatile organic compounds, total trihalomethanes, haloacetic acids, radiological and synthetic organic compounds.The table presented below depicts which compounds were detected in your drinking water.  The State allows us to test for some contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of our data, though representative, are more than one year old.

It should be noted that all drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (800-426-4791) or the Watertown District Office of the New York State Department of Health (315-785-2277).

In order to ensure that tap water is safe to drink, EPA prescribes regulations, which limit the amount of certain contaminants in water provided by public water systems.  Drinking water including bottled water may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.

| Table of Detected Contaminants |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant | Violation Y/N | Date of Sample | Level Detected (Avg/Max) (Range) |  | Unit Measure-ment | MCLG |  | MCL | Likely Source of Contamination |
| #### Inorganic Contaminants |  |  |  |  |  |  |  |  |  |
| Turbidity #1 | No | Daily |  | 0.04 0.01-0.11 | NTU | N/A | 1 |  | Soil Run-off |
| Barium #2 | No | 6/27/24 |  | 13.5 | ug/l | 2000 | 2000 |  | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits. |
| Nitrate (as Nitrogen) #4 | No | 8/25/25 |  | 1.1 | mg/l | 10 | 10 |  | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |
| Copper 90TH percentile #2 Range Low-High | No | 9/8/24 |  | 820 239-820 | ug/l | 1300 | AL= 1300 |  | Corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |
| Lead 90th percentile #3 Range Low-High | No | 9/8/24 |  | 2 0 – 2.6 | ug/l | 0 | AL=15 |  | Corrosion of household plumbing systems, erosion of natural deposits |
| #### Disinfection By-Products |  |  |  |  |  |  |  |  |  |
| TTHM #4 (Total Trihalomethanes) THAAS #4 (Total Haloacetic acids) | No No | 8/25/25 8/25/25 |  | 10.3 5.0 | ug/l ug/l | 0 0 | 80 60 |  | By-product of drinking water chlorination. By-product of drinking water chlorination. |
| Chlorine Residual #4 | No | Daily |  | .88 0.48-1.56 | mg/l | N/A | 4 |  | By-product of drinking water disinfection |
| Radium – 228 | No | 9/3/25 |  | 0.0E+0+/-5.8-1 | pCi/L | N/A | 5 |  | Erosion of natural deposits |
| Gros Beta | No | 9/3/25 |  | 1.32E 0 +/-8.2E-1 | pCi/L | N/A | 4 |  | Erosion of natural deposits |
| Gross Alfa | No | 9/3/25 |  | 0.0E+0+/-5.8E-1 | pCi/L | N/A | 15 |  | Erosion of natural deposits |

Notes:

#1 – Turbidity is a measure of the cloudiness of the water.  We test it because it is a good indicator of the effectiveness of our filtration system.  Our highest single turbidity measurement for the year occurred on 1/4/19  (0.32 NTU).  State regulations require that turbidity must always be below 1 NTU.  The regulations require that 95% of the turbidity samples collected have measurements below 0.3 NTU.

#2 – The level presented represents the 90th percentile of the 10 sites tested. A percentile is a value on a scale of 100 that indicates the percent of a distribution that is equal to or below it.  The 90th percentile is equal to or greater than 90% of the copper values detected at your water system.  In this case, ten samples were collected at your water system and the 90th percentile value was the 980 ug/l value.  The action level for copper was  exceeded at one of the 10 sites tested.

#3 – The level presented represents the 90th percentile of the 10 samples collected.  The action level for lead was exceeded at one of the 10 sites tested.

#4 – This level represents the highest locational running annual average calculated from data collected.

Definitions:

Non-Detects (ND) – laboratory analysis indicates that the constituent is not present.

Action Level – the concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Treatment Technique (TT) – A treatment technique is a required process intended to reduce the level of a contaminant in drinking water.

Maximum Contaminant Level – The “Maximum Allowed” (MCL) is the highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal – The “Goal” (MCLG) is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Parts per million (ppm) or Milligrams per liter (mg/l) – one part per million corresponds to one minute in two years or a single penny in $10,000.

Parts per billion (ppb) or Micrograms per liter – one part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000.

Micrograms per liter(ug/l) – corresponds to one part of liquid in one billion parts of liquid(parts per billion-ppb).

Picocuries per liter (pCi/l)

90th Percentile Value – The values reported for lead and copper represent the 90th percentile.  A percentile is a value on a scale of 100 that indicates the percentage of a distribution that is equal to or greater than 90%

of the lead and copper values detected at your water system.

What does this information mean?

As you can see from the table, our system had no violations.  We have learned through our testing that some contaminants have been detected; however, these contaminants were detected below the level allowed by the State.

Is our system meeting other rules that govern operations?

During 2025, our system was in compliance with applicable State drinking water operating, monitoring and reporting requirements.

Do I need to take special precautions?

Although our drinking water met or exceeded state and federal regulations, some people may be more vulnerable to disease causing microorganisms or pathogens in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice from their health care provider about their drinking water.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium, Giardia and other microbial pathogens are available from the Safe Drinking Water Hotline (800-426-4791).

WHY SAVE WATER AND HOW TO AVOID WASTING IT?

Although our system has an adequate amount of water to meet present and future demands, there are a number of reasons why it is important to conserve water:

Saving water saves energy and some of the costs associated with both of these necessities of life;

Saving water reduces the cost of energy required to pump water and the need to construct costly new wells, pumping systems and water towers; and

Saving water lessens the strain on the water system during a dry spell or drought, helping to avoid severe water use restrictions so that essential fire-fighting needs are met.

You can play a role in conserving water by becoming conscious of the amount of water your household is using, and by looking for ways to use less whenever you can.  It is not hard to conserve water.  Conservation tips include:

Automatic dishwashers use 15 gallons for every cycle, regardless of how many dishes are loaded.  So get a run for your money and load it to capacity.

Turn off the tap when brushing your teeth.

Check every faucet in your home for leaks.  Just a slow drip can waste 15 to 20 gallons a day.  Fix it and you can save almost 6,000 gallons per year.

Check your toilets for leaks by putting a few drops of food coloring in the tank, watch for a few minutes to see if the color shows up in the bowl.  It is not uncommon to lose up to 100 gallons a day from one of these otherwise invisible toilet leaks.  Fix it and you save more than 30,000 gallons a year.

Lead Information

Lead can cause serious health effects in people of all ages, especially pregnant people, infants (both formula-fed and breastfed), and young children. Lead in drinking water is primarily from materials and parts used in service lines and in home plumbing. Mannsville Village is responsible for providing high quality drinking water and removing lead pipes but cannot control the variety of materials used in the plumbing in your home. Because lead levels may vary over time, lead exposure is possible even when your tap sampling results do not detect lead at one point in time. You can help protect yourself and your family by identifying and removing lead materials within your home plumbing and taking steps to reduce your family's risk. Using a filter, certified by an American National Standards Institute accredited certifier to reduce lead, is effective in reducing lead exposures. Follow the instructions provided with the filter to ensure the filter is used properly. Use only cold water for drinking, cooking, and making baby formula. Boiling water does not remove lead from water. Before using tap water for drinking, cooking, or making baby formulas, flush your pipes for several minutes. You can do this by running your tap, taking a shower, doing laundry or a load of dishes. If you have a lead service line or galvanized requiring replacement service line, you may need to flush your pipes for a longer period. If you are concerned about lead in your water and wish to have your water tested, contact The Village of Mannsville at 315-465-5515 Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at https://www.epa.gov/safewater/lead.

INFORMATION ON LEAD SERVICE LINE INVENTORY

A Lead Service Line (LSL) is defined as any portion of pipe that is made of lead which connects the water main to the building inlet. An LSL may be owned by the water system, owned by the property owner, or both. The inventory includes both potable and non-potable SLs within a system. In accordance with the federal Lead and Copper Rule Revisions (LCRR) our system has prepared a lead service line inventory and have made it publicly accessible by contacting the  Village Office or by visiting our web site at www.villageofmannsville.com.

Closing

Thank you for allowing us to continue to provide your family with quality drinking water this year. In order to maintain a safe and dependable water supply we sometimes need to make improvements that will benefit all of our customers. The costs of these improvements may be reflected in the rate structure. Rate adjustments may be necessary in order to address these improvements.  We ask that all our customers help us protect our water sources, which are the heart of our community.  Please call our office if you have questions at 315-465-5515.